## Slide 1
PLC Task
CM Task
I/O
FB_CMA_Source nOwnID= eID_SourceStream,
aDestID = [eID_Mean] MultiArray Dim = [cBufferLength]
(cBufferLength = 10)
FB_CMA_MovingMean
nOwnID = eID_MeanSpectrum,
aDestID = [eID_Sink_MeanSpectrum] (nPopulation = 10)
FB_CMA_Sink nOwnID= eID_Sink_Spectum
aMean
(Array Dim = [cOversamples])
aEl3632
(cOversamples = 10)
aSpectrum
(Array Dim = [513])
10
[cOversamples]
10
[cOversamples]
FB_CMA_Source nOwnID= eID_SourceBatch,
aDestID = [eID_Spectrum] MultiArray Dim = [cBatchLength]
(cBatchLength = 400)
FB_CMA_Sink nOwnID= eID_Sink_MeanSpectum
FB_CMA_MovingMean
nOwnID = eID_Mean,
aDestID = [eID_Sink_Mean] (nPopulation = 200)
FB_CMA_Sink nOwnID= eID_Sink_Mean
FB_CMA_MagnitudeSpectrum
nOwnID = eID_Spectrum,
aDestID = [eID_Sink_Spectrum, eID_MeanSpectrum] (nWindowLenght = 800, nFFT_Length = 1024)
aSpectrumMean
(Array Dim = [513])
400
[cBatchLength]
513
[cResultLength]
513
513
[cResultLength]
513
10
[cOversamples]
10